## campaigns
ID | name | description | url | created | last modified | version | associated campaigns | associated campaigns citations | relationship citations
C0025 | 2016 Ukraine Electric Power Attack | [2016 Ukraine Electric Power Attack](https://attack.mitre.org/campaigns/C0025) was a [Sandworm Team](https://attack.mitre.org/groups/G0034) campaign during which they used [Industroyer](https://attack.mitre.org/software/S0604) malware to target and disrupt distribution substations within the Ukrainian power grid. This campaign was the second major public attack conducted against Ukraine by [Sandworm Team](https://attack.mitre.org/groups/G0034).(Citation: ESET Industroyer)(Citation: Dragos Crashoverride 2018) | https://attack.mitre.org/campaigns/C0025 | 31 March 2023 | 10 April 2023 | 1.0 |  |  | (Citation: ESET Industroyer),(Citation: Dragos Crashoverride 2018),(Citation: ESET Industroyer),(Citation: Dragos Crashoverride 2018),(Citation: US District Court Indictment GRU Unit 74455 October 2020),(Citation: Joe Slowik August 2019)
C0020 | Maroochy Water Breach | [Maroochy Water Breach](https://attack.mitre.org/campaigns/C0020) was an incident in 2000 where an adversary leveraged the local government’s wastewater control system and stolen engineering equipment to disrupt and eventually release 800,000 liters of raw sewage into the local community.(Citation: Marshall Abrams July 2008) | https://attack.mitre.org/campaigns/C0020 | 10 March 2023 | 05 April 2023 | 1.0 |  |  | ,(Citation: Marshall Abrams July 2008),
C0009 | Oldsmar Treatment Plant Intrusion | [Oldsmar Treatment Plant Intrusion](https://attack.mitre.org/campaigns/C0009) was a cyber incident involving a water treatment facility in Florida. During this incident, unidentified threat actors leveraged features of the system to access and modify setpoints for a specific chemical required in the treatment process. The incident was detected immediately and prevented before it could cause any harm to the public.(Citation: Pinellas County Sheriffs Office February 2021)(Citation: CISA AA21-042A Water Treatment Intrusion Feb 2021)(Citation: Dragos Oldsmar Feb 2021) | https://attack.mitre.org/campaigns/C0009 | 20 September 2022 | 21 October 2022 | 1.0 |  |  | ,(Citation: Pinellas County Sheriffs Office February 2021),

## associated software
source ID | source name | source type | mapping type | target ID | target name | target type | mapping description
C0025 | 2016 Ukraine Electric Power Attack | campaign | uses | S0604 | Industroyer | software | Within the [2016 Ukraine Electric Power Attack](https://attack.mitre.org/campaigns/C0025), [Industroyer](https://attack.mitre.org/software/S0604) was used to target and disrupt the Ukrainian power grid substation components.(Citation: Dragos Crashoverride 2018)(Citation: ESET Industroyer)

## techniques used
source ID | source name | source type | mapping type | target ID | target name | target type | mapping description
C0025 | 2016 Ukraine Electric Power Attack | campaign | uses | T0807 | Command-Line Interface | technique | During the [2016 Ukraine Electric Power Attack](https://attack.mitre.org/campaigns/C0025), [Sandworm Team](https://attack.mitre.org/groups/G0034) supplied the name of the payload DLL to [Industroyer](https://attack.mitre.org/software/S0604) via a command line parameter.(Citation: ESET Industroyer)
C0025 | 2016 Ukraine Electric Power Attack | campaign | uses | T0867 | Lateral Tool Transfer | technique | During the [2016 Ukraine Electric Power Attack](https://attack.mitre.org/campaigns/C0025), [Sandworm Team](https://attack.mitre.org/groups/G0034) used a VBS script to facilitate lateral tool transfer. The VBS script was used to copy ICS-specific payloads with the following command: `cscript C:\Backinfo\ufn.vbs C:\Backinfo\101.dll C:\Delta\101.dll`(Citation: Dragos Crashoverride 2018)
C0025 | 2016 Ukraine Electric Power Attack | campaign | uses | T0849 | Masquerading | technique | During the [2016 Ukraine Electric Power Attack](https://attack.mitre.org/campaigns/C0025), [Sandworm Team](https://attack.mitre.org/groups/G0034) transferred executable files as .txt and then renamed them to .exe, likely to avoid detection through extension tracking.(Citation: Dragos Crashoverride 2018)
C0025 | 2016 Ukraine Electric Power Attack | campaign | uses | T0886 | Remote Services | technique | During the [2016 Ukraine Electric Power Attack](https://attack.mitre.org/campaigns/C0025), [Sandworm Team](https://attack.mitre.org/groups/G0034) used MS-SQL access to a pivot machine, allowing code execution throughout the ICS network.(Citation: Dragos Crashoverride 2018)
C0025 | 2016 Ukraine Electric Power Attack | campaign | uses | T0853 | Scripting | technique | During the [2016 Ukraine Electric Power Attack](https://attack.mitre.org/campaigns/C0025), [Sandworm Team](https://attack.mitre.org/groups/G0034) utilized VBS and batch scripts for file movement and as wrappers for PowerShell execution.(Citation: Dragos Crashoverride 2018)
C0025 | 2016 Ukraine Electric Power Attack | campaign | uses | T0859 | Valid Accounts | technique | During the [2016 Ukraine Electric Power Attack](https://attack.mitre.org/campaigns/C0025), [Sandworm Team](https://attack.mitre.org/groups/G0034) used valid accounts to laterally move through VPN connections and dual-homed systems.(Citation: Dragos Crashoverride 2018)
C0020 | Maroochy Water Breach | campaign | uses | T0878 | Alarm Suppression | technique | In the [Maroochy Water Breach](https://attack.mitre.org/campaigns/C0020), the adversary suppressed alarm reporting to the central computer.(Citation: Marshall Abrams July 2008)
C0020 | Maroochy Water Breach | campaign | uses | T0879 | Damage to Property | technique | In the [Maroochy Water Breach](https://attack.mitre.org/campaigns/C0020), the adversary gained remote computer access to the control system and altered data so that whatever function should have occurred at affected pumping stations did not occur or occurred in a different way. This ultimately led to 800,000 liters of raw sewage being spilled out into the community. The raw sewage affected local parks, rivers, and even a local hotel. This resulted in harm to marine life and produced a sickening stench from the community's affected rivers.(Citation: Marshall Abrams July 2008)
C0020 | Maroochy Water Breach | campaign | uses | T0813 | Denial of Control | technique | In the [Maroochy Water Breach](https://attack.mitre.org/campaigns/C0020), the adversary temporarily shut an investigator out of the network preventing them from issuing any controls.(Citation: Marshall Abrams July 2008)
C0020 | Maroochy Water Breach | campaign | uses | T0815 | Denial of View | technique | In the [Maroochy Water Breach](https://attack.mitre.org/campaigns/C0020), the adversary temporarily shut an investigator out of the network, preventing them from viewing the state of the system.(Citation: Marshall Abrams July 2008)
C0020 | Maroochy Water Breach | campaign | uses | T0822 | External Remote Services | technique | In the [Maroochy Water Breach](https://attack.mitre.org/campaigns/C0020), the adversary gained remote computer access to the system over radio.(Citation: Marshall Abrams July 2008)
C0020 | Maroochy Water Breach | campaign | uses | T0838 | Modify Alarm Settings | technique | In the [Maroochy Water Breach](https://attack.mitre.org/campaigns/C0020), the adversary disabled alarms at four pumping stations, preventing notifications to the central computer.(Citation: Marshall Abrams July 2008)
C0020 | Maroochy Water Breach | campaign | uses | T0836 | Modify Parameter | technique | In the [Maroochy Water Breach](https://attack.mitre.org/campaigns/C0020), the adversary gained remote computer access to the control system and altered data so that whatever function should have occurred at affected pumping stations did not occur or occurred in a different way. The software program installed in the laptop was one developed for changing configurations in the PDS computers. This ultimately led to 800,000 liters of raw sewage being spilled out into the community.(Citation: Marshall Abrams July 2008)
C0020 | Maroochy Water Breach | campaign | uses | T0848 | Rogue Master | technique | In the [Maroochy Water Breach](https://attack.mitre.org/campaigns/C0020), the adversary falsified network addresses in order to send false data and instructions to pumping stations.(Citation: Marshall Abrams July 2008)
C0020 | Maroochy Water Breach | campaign | uses | T0856 | Spoof Reporting Message | technique | In the [Maroochy Water Breach](https://attack.mitre.org/campaigns/C0020), the adversary used a dedicated analog two-way radio system to send false data and instructions to pumping stations and the central computer.(Citation: Marshall Abrams July 2008)
C0020 | Maroochy Water Breach | campaign | uses | T0864 | Transient Cyber Asset | technique | In the [Maroochy Water Breach](https://attack.mitre.org/campaigns/C0020), the adversary utilized a computer, possibly stolen, with proprietary engineering software to communicate with a wastewater system.(Citation: Marshall Abrams July 2008)
C0020 | Maroochy Water Breach | campaign | uses | T0855 | Unauthorized Command Message | technique | In the [Maroochy Water Breach](https://attack.mitre.org/campaigns/C0020), the adversary used a dedicated analog two-way radio system to send false data and instructions to pumping stations and the central computer.(Citation: Marshall Abrams July 2008)
C0020 | Maroochy Water Breach | campaign | uses | T0860 | Wireless Compromise | technique | In the [Maroochy Water Breach](https://attack.mitre.org/campaigns/C0020), the adversary used a two-way radio to communicate with and set the frequencies of Maroochy Shire's repeater stations.(Citation: Marshall Abrams July 2008)
C0009 | Oldsmar Treatment Plant Intrusion | campaign | uses | T0823 | Graphical User Interface | technique | During the [Oldsmar Treatment Plant Intrusion](https://attack.mitre.org/campaigns/C0009), the threat actors utilized the operator HMI interface through the graphical user interface. This action led to immediate operator detection as they were able to see the adversary making changes on their screen.(Citation: Pinellas County Sheriffs Office February 2021)
C0009 | Oldsmar Treatment Plant Intrusion | campaign | uses | T0831 | Manipulation of Control | technique | During the [Oldsmar Treatment Plant Intrusion](https://attack.mitre.org/campaigns/C0009), the threat actors utilized an operator HMI to manipulate process control setpoint values far beyond normal operating levels.(Citation: Pinellas County Sheriffs Office February 2021)
C0009 | Oldsmar Treatment Plant Intrusion | campaign | uses | T0836 | Modify Parameter | technique | During the [Oldsmar Treatment Plant Intrusion](https://attack.mitre.org/campaigns/C0009), the threat actors raised the sodium hydroxide setpoint value from 100 part-per-million (ppm) to 11,100 ppm, far beyond normal operating levels.(Citation: Pinellas County Sheriffs Office February 2021)
C0009 | Oldsmar Treatment Plant Intrusion | campaign | uses | T0886 | Remote Services | technique | During the [Oldsmar Treatment Plant Intrusion](https://attack.mitre.org/campaigns/C0009), the threat actors gained access to the system through remote access software, allowing for the use of the standard operator HMI interface.(Citation: Pinellas County Sheriffs Office February 2021)

## attributed groups
source ID | source name | source type | mapping type | target ID | target name | target type | mapping description
C0025 | 2016 Ukraine Electric Power Attack | campaign | attributed-to | G0034 | Sandworm Team | group | (Citation: US District Court Indictment GRU Unit 74455 October 2020)(Citation: Joe Slowik August 2019)

## citations
reference | citation | url
Dragos Crashoverride 2018 | Joe Slowik. (2018, October 12). Anatomy of an Attack: Detecting and Defeating CRASHOVERRIDE. Retrieved December 18, 2020. | https://www.dragos.com/wp-content/uploads/CRASHOVERRIDE2018.pdf
ESET Industroyer | Anton Cherepanov. (2017, June 12). Win32/Industroyer: A new threat for industrial controls systems. Retrieved December 18, 2020. | https://www.welivesecurity.com/wp-content/uploads/2017/06/Win32_Industroyer.pdf
Joe Slowik August 2019 | Joe Slowik 2019, August 15 CRASHOVERRIDE: Reassessing the 2016 Ukraine Electric Power Event as a Protection-Focused Attack Retrieved. 2019/10/22 | https://dragos.com/wp-content/uploads/CRASHOVERRIDE.pdf
Marshall Abrams July 2008 | Marshall Abrams 2008, July 23 Malicious Control System Cyber Security Attack Case Study Maroochy Water Services, Australia Retrieved. 2018/03/27 | https://www.mitre.org/sites/default/files/pdf/08_1145.pdf
Pinellas County Sheriffs Office February 2021 | Pinellas County Sheriffs Office 2021, February 8 Treatment Plant Intrusion Press Conference Retrieved. 2021/10/08 | https://www.youtube.com/watch?v=MkXDSOgLQ6M
US District Court Indictment GRU Unit 74455 October 2020 | Scott W. Brady. (2020, October 15). United States vs. Yuriy Sergeyevich Andrienko et al.. Retrieved November 25, 2020. | https://www.justice.gov/opa/press-release/file/1328521/download
ESET Industroyer | Anton Cherepanov. (2017, June 12). Win32/Industroyer: A new threat for industrial controls systems. Retrieved December 18, 2020. | https://www.welivesecurity.com/wp-content/uploads/2017/06/Win32_Industroyer.pdf
Dragos Crashoverride 2018 | Joe Slowik. (2018, October 12). Anatomy of an Attack: Detecting and Defeating CRASHOVERRIDE. Retrieved December 18, 2020. | https://www.dragos.com/wp-content/uploads/CRASHOVERRIDE2018.pdf
Marshall Abrams July 2008 | Marshall Abrams 2008, July 23 Malicious Control System Cyber Security Attack Case Study Maroochy Water Services, Australia Retrieved. 2018/03/27 | https://www.mitre.org/sites/default/files/pdf/08_1145.pdf
CISA AA21-042A Water Treatment Intrusion Feb 2021 | CISA. (2021, February 11). Compromise of U.S. Water Treatment Facility . Retrieved October 18, 2022. | https://www.cisa.gov/uscert/ncas/alerts/aa21-042a
Pinellas County Sheriffs Office February 2021 | Pinellas County Sheriffs Office 2021, February 8 Treatment Plant Intrusion Press Conference Retrieved. 2021/10/08 | https://www.youtube.com/watch?v=MkXDSOgLQ6M
Dragos Oldsmar Feb 2021 | Serino, G., et al . (2021, February 8). Recommendations Following the Oldsmar Water Treatment Facility Cyber Attack. Retrieved October 21, 2022. | https://www.dragos.com/blog/industry-news/recommendations-following-the-oldsmar-water-treatment-facility-cyber-attack/